# Year-round Operation Parameter Table

Definitions for symbols used across the full report Year-round Operation section (Sections 18.1 through 18.6), including explicit aliases such as δm,qh and δm,qf.

| Symbol | Definition |
| --- | --- |
| α | wire temperature coefficient of resistivity. |
| Tm | monthly Connecticut mean ambient from climate\_data.monthlyMean\_C. |
| Tw,g(d) | representative wire temperature for group g, day d. |
| βf,m,ρf,m,Uf,mcnt | freeze-count floor, freeze-count fractional remainder, and freeze-count uniform draw for month m. |
| βh,m,ρh,m,Uh,mcnt | heat-wave-day count floor, fractional remainder, and uniform draw for month m. |
| βs,m,ρs,m,Us,mcnt | spell-start count floor, fractional remainder, and uniform draw for month m. |
| χderive | derivation toggle from deriveTargetFromRatedSpecs (1 on, 0 off). |
| Δpavail,x(V) | available blower pressure at trial flow V from the linear fan-curve relation. |
| Δpdist,common | heating common distribution losses (header and header-to-splitter path). |
| Δpdist,private,g | heating group-g private distribution losses (splitter body, connector friction, connector-to-branch area change). |
| Δpdist,c | cooling distribution loss sum Δpheader+Δpheader→splitter+Δpsplitter body+Δpconnector fric+Δpconnector→branch. |
| ΔpErgun,s | porous-bed backpressure increment over path length Ls in segment s. |
| Δpheater,tube,g,Δpheater,coil,g,Δpheater→aer,g | heater-tube friction, heater-coil obstruction, and heater-to-aeration area-change losses for group g. |
| Δpop,x(d) | operating pressure used for power at solved day-d flow, bounded by system-required and available pressures. |
| Δppath,g | full group-g private path pressure requirement in heating. |
| Δprated,x | static pressure reported at the same rated operating point as Vrated,x; in code this comes from ratedPressure\_inH2O and is converted to Pa. |
| Δpshutoff,x | blower x shutoff pressure, i.e., the maximum static pressure at zero flow from the blower datasheet; in code this comes from shutoffPressure\_inH2O and is converted to Pa. |
| Δpsys,x(V) | system-required pressure drop at trial flow V for blower path x. In cooling, Δpsys,ab=Δpdist,c+pin,c. In heating, Δpsys,hb=Δpdist,common+Δppath,ctrl. |
| Δptube,s | in-tube Darcy friction drop across segment s. |
| ΔTf,m,q | sampled anomaly for selected freeze event q in month m (bounded to [ΔTf,mlow,ΔTf,mhigh]). |
| ΔTf,m | freeze anomaly below monthly mean |
| ΔTf,mlow,ΔTf,mhigh | lower/upper freeze-anomaly bounds for month m. |
| ΔTh,m,q | sampled anomaly assigned to spell q in month m, bounded to [ΔTh,mlow,ΔTh,mhigh]. |
| ΔTh,m | monthly mean spell anomaly above monthly mean |
| ΔTh,mlow,ΔTh,mhigh | lower/upper spell-anomaly bounds (above Tm) for month m, loaded from NOAA-derived monthly spell statistics. |
| δm,qf | Alias for freeze-event anomaly magnitude; identical to ΔTf,m,q. |
| δm,qh | Alias for heat-wave spell anomaly magnitude; identical to ΔTh,m,q. |
| δi(d) | circular day distance (Eq. 230) |
| m(d) | total moist-air mass flow through the spot-cooler branch, computed as ρair(T∞(d),p∞)Vach,ab(d). |
| m(d),cp(d) | day-d cooling-branch mass flow and effective specific heat. |
| mdry(d) | dry-air mass flow, m(d)/(1+win(d)). |
| mevap,b,s | evaporation mass flow rate in branch b, segment s. |
| mmean,b,s | mean airflow through segment s of branch b. |
| mrated(d) | rated mass flow at day-d ambient properties. |
| mrel,b,s | mass flow released through perforations into bed in branch b, segment s. |
| mremaining(pin) | remaining mass-flow mismatch used in Rinlet. |
| Qrated,sens(d) | rated sensible capacity used by the target-derivation path. |
| Qsensible(d) | sensible (dry-bulb) cooling rate, defined as m(d)cp(d)max(T∞(d)−Tsupply,actual(d),0), equal to Qspot,act(d) in this model. |
| Qspot,act(d) | actual spot-cooler sensible load after capacity cap. |
| Qspot,max(d) | available spot-cooler sensible capacity at day d. |
| Qspot,req(d) | requested sensible spot-cooling load at day d. |
| Vach,ab(d) | achieved cooling assist-blower flow from the blower/network residual solve. |
| Vach,x(d) | achieved flow for blower x, equal to requested flow under disabled/valid-request-feasible conditions, otherwise Vfeas,x(d). |
| Vfeas,x(d) | helper feasible-flow variable, equal to maxFx(d) when feasible set is nonempty, else 0. |
| Vfree,x | blower x free-air flow (fan-curve intercept at zero pressure). |
| Vrated,x | blower x rated volumetric flow from the manufacturer-rated operating point; in code this comes from ratedFlow\_CFM and is converted to SI units. |
| Vrated | rated airflow converted to m3/s. |
| Vreq,x(d) | requested blower volumetric flow for day d, blower x. |
| ℓh,m,q | Heat-wave spell length (days) for spell q in month m. |
| ηx | total blower efficiency used in Pshaft/η conversion for blower x. |
| y(d) | kernel-regressed daily estimate generated from one selected yi pass at day d. |
| A(d),T(d),b(d) | day-d two-node linear-system matrix, unknown temperature vector, and right-hand-side vector. |
| Bh,m,q | Set of day-of-month indices occupied by heat-wave spell q in month m. |
| Bh,mall | Union of all heat-wave day blocks in month m: ⋃qBh,m,q. |
| Fx(d) | feasible-flow set for blower x on day d, containing trial flows in [0,Vreq,x(d)] with Rx(V)≤0. |
| If,m(k) | freeze-day candidates remaining at step k, defined by If,m(k)={1,…,Lm}\Sf,m(k−1). |
| Ih,m(k) | heat-wave-start candidates remaining at step k, defined by Ih,m(k)={1,…,Lm}\Sh,m(k−1). |
| Sf,m | set of freeze-day indices already selected in month m. |
| Sf,m(k) | freeze-day selected set after k recursive selections (Sf,m(0)=⌀). |
| Sh,m | set of heat-wave start-day indices selected in month m. |
| Sh,m(k) | heat-wave-start selected set after k recursive selections (Sh,m(0)=⌀). |
| COP | coefficient of performance used to convert sensible load to electric power. |
| μf,m | mean freeze day-of-month |
| μh,m | mean heat-wave start day |
| ρ20 | wire resistivity at 20 ∘C. |
| ρair(T,p) | moist-air density function used to map rated airflow to rated mass flow. |
| σ(d) | regressed daily spread from the same kernel pass on σm. |
| σm | monthly ambient spread from climate\_data.monthlyStd\_C. |
| σΔT,f,m | freeze-anomaly spread parameter for month m. |
| σΔT,h,m | configured or fallback standard deviation used for spell-anomaly sampling in month m. |
| ε,dp,Ls,Atrib,s | bed porosity, representative particle diameter, escape-path length, and tributary porous area in segment s. |
| ⌀ | Empty set. Also used with set operators: A\B (difference), A∪{x} (union/add), and ∥A∥ (set cardinality). |
| Af,m(r) | day-of-month freeze-anomaly field; Af,m(r)=ΔTf,m,q when day r is the q-th selected freeze day, and Af,m(r)=0 otherwise. |
| Ah,m(r) | day-of-month spell-anomaly field for month m, obtained by allocating each spell magnitude Mh,m,q to all days in spell block Bh,m,q. |
| b | aeration branch index (1,…,Nb). |
| C(d) | daily cost (Eq. 250) |
| celec | electricity price (Eq. 250) |
| cp,b,s | specific heat of segment airflow in branch b, segment s. |
| d | day-of-year evaluation index (d=1,…,P). |
| D(d) | Active duty fraction for day d: equals Dh(d) on heating days or Dc(d) on cooling days. |
| Dh(d),Dc(d) | mode-specific clipped duty fractions. |
| Dh*(d),Dc*(d) | required duty fraction (Eq. 243) |
| di | day-of-year reference day associated with reference point i (month midpoint in this implementation). |
| dm | month-midpoint day-of-year for month m. With one reference point per month, dm and di refer to the same reference-day map. |
| df,m,k | freeze day selected at recursion step k. |
| dh,m,k | heat-wave start day selected at recursion step k. |
| dh,m,qraw | Raw ordered start day for heat-wave spell q before feasibility projection. |
| Eh(d),Ec(d) | daily mode-specific kWh (Eq. 248) |
| Eday | total daily kWh (Eq. 249) |
| eh,m,q | Earliest feasible start day for heat-wave spell q. |
| Fm | expected freeze days/month |
| g | heater-tube group index; ntube,g is the number of identical tubes in group g. |
| gctrl | controlling heating group (the group with the largest Δppath,g). |
| gstd(z),Gstd(z) | standard-normal density and CDF used in the explicit truncated-normal equations. |
| h | Gaussian kernel bandwidth in days. |
| Hm | expected heat-wave days/month |
| hfg,b,s | latent heat of vaporization used in branch b, segment s. |
| Itube,g(d) | current through one tube/string in group g. |
| Lm | number of calendar days in month m. |
| Lw,g,Aw,g | wire length and wire cross-sectional area for group g. |
| m | month index (m=1,…,12). |
| mwater(d) | duty-scaled daily water replacement (Eq. 251) |
| Mf,m | freeze-anomaly monthly center value for month m (mean freeze anomaly below Tm). |
| Mh,m,q | spell-magnitude variable for spell q in month m; in code-equivalent notation Mh,m,q≡ΔTh,m,q. |
| Nf,Ns,Nh | realized annual totals after month-wise stochastic rounding (freeze days, spell starts, and heat-wave days). |
| nf,m | allocated integer freeze days (Eq. 231) |
| Ns,g | number of tube elements in series in group g. |
| ns,m,nh,m | allocated starts and days (Eq. 235) |
| P | annual period length in days (P=365 in this implementation). |
| p∞ | day ambient absolute pressure used in air-property evaluation. |
| Ph(T∞(d)) | heating-mode electrical power from the day-ambient heating re-solve. |
| Passist blower(d) | assist-blower electric power on day d from the cooling re-solve. |
| Phb,elec(d) | heating-blower electrical power at day d. |
| Pidle,x | baseline low-flow electrical draw for blower x (motor/controller/parasitics), from idlePower\_W; in implemented logic it is nonnegative and only applied when blower is enabled and Vach,x>0, otherwise blower electrical power is set to 0. |
| pin,aer,g | group-g aeration inlet gauge pressure from the same closed-end release/backpressure closure. |
| pin,c | cooling aeration-branch inlet gauge pressure from closed-end inlet solve. |
| Pin(d) | spot-cooler electrical input power used in COP definitions; in this model Pin(d)≡Pspot cooler(d). |
| pout,bnd | bed outlet-boundary gauge pressure (open-top/vent/offset closure). |
| Prated,x | motor rated electrical power cap for blower x. |
| Pshaft,x(d) | shaft (fluid) power for blower x, Pshaft,x=Vach,xΔpop,x. |
| Pspot cooler(d) | spot-cooler electric power on day d from the cooling re-solve. |
| Ptube,g(d) | electrical power of one tube/string in group g. |
| Pc,elec(d) | cooling electric power (Eq. 242) |
| Ph,coil(d) | total heater-coil electrical power from all tube groups at day d. |
| Ph,elec(d) | heating electric power (Eq. 241) |
| Ph,elec(d),Pc,elec(d) | mode electric powers used in daily energy equations, where Ph,elec(d)=Ph(T∞(d)) and Pc,elec(d)=Pspot cooler(d)+Passist blower(d). |
| Px,elec(d) | blower-x electrical power at day d, computed by efficiency model (or flow-fraction fallback), then capped by Prated,x. |
| q | heat-wave spell index within month m, ordered by projected start day. |
| Qbed(d) | applied bed load (Eq. 246) |
| Qevap,b,s | latent heat sink due to evaporation in branch b, segment s. |
| Qjet,b,s | sensible heat carried by released jet flow relative to bed reference temperature. |
| Qreq,c(d) | required cooling load (Eq. 240) |
| Qreq,h(d) | required heating load (Eq. 239) |
| Qto bed,c(T∞(d)) | signed net heat-to-bed returned by the cooling reference-point re-solve at day ambient T∞(d) (typically negative when cooling removes heat from the bed). |
| Qto bed,h(T∞(d)) | signed net heat-to-bed returned by the heating reference-point re-solve at day ambient T∞(d) (positive when the heater adds heat to the bed). |
| Qwall,b,s | sensible heat transfer from branch airflow to bed-side walls in branch b, segment s. |
| Qc,cap(d) | cooling capacity at day ambient (Eq. 242) |
| Qh,cap(d) | heating capacity at day ambient (Eq. 241) |
| Qh,cap(d),Qc,cap(d) | positive heating and cooling capacities used in duty equations, with Qh,cap(d)=Qto bed,h(T∞(d)) and Qc,cap(d)=−Qto bed,c(T∞(d)). |
| r | generic day-of-month index, r∈{1,…,Lm}. |
| rm(d) | day-of-month index corresponding to day-of-year d in month m. |
| Rx(V) | blower/system residual for blower x, Rx=Δpsys,x−Δpavail,x. |
| Rbed ref(Tref) | bed-reference closure residual in cooling branch. |
| Rinlet(pin) | closed-end inlet mass-balance residual mrem,Nseg+1(pin). |
| Rtube,g(d) | electrical resistance of one tube in group g at day-d operating temperature. |
| Rf,m(k)(r) | deterministic ranking value for freeze-day candidate day r at step k; larger R means higher selection priority. |
| Rh,m(k)(r) | deterministic ranking value for heat-wave-start candidate day r at step k; larger R means higher selection priority. |
| s | axial segment index (1,…,Nseg). |
| Sm | expected heat-wave spell starts/month |
| sf,m,rf,m | freeze-day Gaussian spread and repulsion length scales for month m. |
| sh,m,q | Feasible heat-wave spell start day for spell q in month m after non-overlap and month-bound clipping. |
| sh,m,rh,m | heat-wave start Gaussian spread and repulsion length scales for month m. |
| T∞(d) | final day ambient passed to thermal load and capacity re-solves. |
| Tb(d),Tt(d) | bottom/top bed-node temperatures from the two-node steady solve under Qbed(d) and T∞(d). |
| Tb,Tt | bottom and top bed-node temperatures used by the closure. |
| Tm(d) | month-local daily ambient profile used during event overlays inside month m. |
| T∞,base(d) | regressed daily ambient baseline from periodic Gaussian kernel regression on Tm. |
| T∞,heatRaw(d) | optional diagnostic track exported by code; mathematically, Eq. 18.3-G is written directly in combined form for T∞(d). |
| T∞,preH(d) | intermediate daily ambient after freeze-day cold overrides (input to 18.3 heat-wave overlay). |
| Tair,in,b,s,Tair,out,b,s | segment inlet/outlet air temperatures. |
| Tbed,ref | branch-level bed reference temperature used for local segment balances. |
| Tref | trial bed reference temperature in the cooling closure. |
| Trel,b,s | release/jet air temperature to the bed in branch b, segment s. |
| Tsupply,actual(d) | actual spot-cooler supply-air temperature after capacity capping. |
| Ttarget,cfg | configured spot-cooler target from targetSupplyAir\_C. |
| Ttarget,derived(d) | target supply temperature derived from rated sensible capacity and rated mass flow. |
| Ttarget(d) | effective day-d spot-cooler target used in Qspot,req(d). |
| Th,set,Tc,set | Resolved heating and cooling setpoints used by the year-round solver. |
| us | superficial porous velocity used in Ergun pressure-drop term for segment s. |
| uh,m,q | Latest feasible start day for heat-wave spell q. |
| V | applied electrical voltage across each series string. |
| Vrated,CFM | spot-cooler rated airflow from configuration. |
| wi(d) | Gaussian kernel weight applied to reference point i when evaluating day d. |
| win(d) | inlet humidity ratio used to convert moist-air to dry-air basis. |
| x∈{hb,ab} | blower index (hb: heating blower, ab: cooling assist blower). |
| yi | Reference monthly value used in the active kernel pass; either Ti (baseline pass) or σi (spread pass). |